Chapter 9.2

T L S

K. N. TRUEBLOOD AND E. M. MAVERICK,

DEPARTMENT OF CHEMISTRY AND BIOCHEMISTRY,

UNIVERSITY OF CALIFORNIA, LOS ANGELES, CA 90024

EMAIL : MAVERICK@CHEM.UCLA.EDU

9.2 Programs THMA11 & THMA14c

9.2.1 Summary of instruction file for THMA11

9.2.2 Comments

9.2.3 Restrictions on this version

9.2.4 Full details of input instructions

LINE (1) title line

LINE (2)  six cell dimensions, IFMX, IFMB, ETA, DIS

LINE (3)  control line NTOT, NO, ISET, IB, NONRIG, NVIB, NS, ISIG, ISYM, ICORL, IWU, IFU, ICSVIB

LINE (4)  three option lines  (free format).

LINE (4a) TEMP, IRECAL, ISIGX, IRIDE, IMIN, IUNC

LINE (4b) IFREQ, IATWT, IEIG, IMAT, IOUT, CONSLV

LINE (4c) title, TMAT, RTMAT

LINE (5)  atomic parameter lines

LINE (5a)  position parameters.

LINE(5b) atomic displacement ('thermal', vibration) parameters

LINE (5c) input of sigmas of U (or B), atname format (6f10.5,a4)

LINES (6a, 6b, 6c) Input concerning attached rigid groups, assumed to be undergoing torsional or other motion ('non-rigid' input)

line (6a) NAFA, LBAT1, LBAT2, NONSY, AXMOM

line (6b) names of the affected atoms

line (6c) LBAT3, LBAT5, LBAT5

LINES (6d, 6e, 6f)  input concerning riding, minimal thermal motion and correlation corrections

line (6d)  Riding correction

line (6e) ‘minimum’ thermal correction

line (6f) independent motion correction

LINE (7) input concerning symmetry

LINE (8a), (8b) input concerning msda calculations

LINE (8a)

LINE (8b)

9.2.5 Differences between THMA14c and THMA11

9.2.6 Sample default input file for THMA11

# 9.2 Programs THMA11 & THMA14c

These two programs are slightly different versions of THMA, a program which performs a TLS thermal motion analysis on experimentally measured anisotropic displacement parameters (adp’s). For an excellent  introductory discussion on thermal motion analysis see X-ray Analysis and the Structure of Organic Molecules by J.D. Dunitz, VCH, Weinheim (1995), Ch. 5, pp 244-261. There are also two recent reviews on the subject:

Dunitz, J. D.; Schomaker, V.; Trueblood, K. N. J. Phys. Chem. 1988, 92, 856-867.

Dunitz, J. D.; Maverick, E. F.; Trueblood, K. N. Angew. Chem., Int Ed. Engl. 1988, 27, 880-895.

THMA14c is the most recent version, but will only be required for specialist needs. As implemented in WinGX, the input files for the programs (called THMA11.INS or THMA14.INS) are created automatically. The SHELXL.LST file is searched to provide the standard uncertainties for the adp’s. It may sometimes be necessary to manually edit these files, e.g. if using non-default options of the program. Full details of the file format and meaning of all the input parameters for THMA11 is given below, and the (very minor) differences between THMA11 and THMA14c given in Section 9.2.5. On selecting either program a Window similar to the one shown below opens

This Window is for THMA11 but the one for THMA14c is virtually identical. For a default run there is no need to modify any parameters, except possibly to select the appropriate symmetry shown in the Window below. Note that the site symmetry refers to the molecular rather than the crystallographic symmetry. For hexagonal or cubic crystals it is vital to choose the correct appropriate symmetry

The most common options which may need altering are the calculations of all pairs of MSDA’s (default none) and options to cut down the voluminous output produced.

All output from the program is directed to the files THMA11.LST or THMA14.LST

# 9.2.1 Summary of instruction file for THMA11

Optional cards are shown in parentheses and will only be required if certain parameters are set. Others are essential.

1.	title (first 4 letters = “FREE” if free format input)

2.  	6 cell dimen, IFMX, IFMB, ETA, DIS  (up to 10 quantities)

3.  	control line: NTOT, NO, ISET, IB, NONRIG, NVIB, NS, ISIG, ISYM, 	ICORL, IWU, IFU, ICSVIB   (up to 13 quantities)

4a. 	first option line:  TEMP, IRECAL, ISIGX, IRIDE, IMIN, IUNC (up to 6 	quantities)

4b. 	second option line:  IFREQ, IATWT, IEIG, IMAT, IOUT, CONSLV (up to 6 	quantities)

4c.  	infrequently used; only if ISET > 5; see control line, 3

5a,5b.  pairs of lines for atomic parameters:

5a.  	X, Y, Z, ATOMNAME, WEIGHT, MULT  (order depends on format used; see 	lines 1 and 2)

5b. 	anisotropic displacement parameters (order may vary with format 	used; see lines 1 and 2), NUORB

5c. 	ISIG lines of sigmas of displacement parameters;

if no sigmas input, ISIG = 0; see control line, 3

6a. 	NAFA, LBAT1, LBAT2, NONSY, AXMOM; and

6b. 	a total of NAFA names; 6a and 6b may be omitted,

depending on NONRIG, see control line, 3

6c. 	LBAT3 ,LBAT4 , LBAT5; may omit depending on NAFA, see  line 6a

6d. 	pairs of atom names; may be omitted, depending on IRIDE;  see option 	line 4a)

6e. 	pairs of atom names; may be omitted, depending on IMIN;  see option 	line 4a)

6f. 	pairs of atom names and equivalent positions; may be omitted, 	depending on IUNC;  see option line 4a)

7.  	SYML(i),i=1,3 may be omitted, depending on ISYM; see control line, 3

8a. 	NVIB pairs of atom names and equivalent positions, if NVIB is 	positive; see control line, 3

(8b. 2 x ICSVIB lines if ICSVIB is not 0; see control line, 3)

(9, 10 etc.  data for another calculation or for another compound; whether these lines are called for depends on NS (control line, 3) and IRECAL (option line 4a))

NOTE: some other input may also be required, depending on the values of ISET, NONRIG, NVIB, NS, ISIG, ISYM, ICSVIB, IRECAL, ISIGX, IRIDE, IMIN, IUNC and NAFA.

# 9.2.2 Comments

- Frequency calculations (controlled by IFREQ, 2nd option line) should be viewed with great scepticism.

- Riding motion corrections and corrections for anharmonicity of the potential function are automatic for bonds to (anisotropic) hydrogen or deuterium atoms. CAUTION:  If the "anharmonic" correction is positive, the data  are suspect. It will be positive whenever the H or D has a lower msda than the "heavy atom" to which it is bonded (e.g.,  C,N,O) along the bonding direction.  Normally the msda in this direction for H or D should be 0.040-0.060 Å2 larger than that of the C, N or O to which it is bonded.  When NVIB is negative, check the printed msda matrix concerning this point. [Reference for anharmonic correction: Jeffrey and Juble, Trans. ACA, 20, 129-131 (1984) - Lexington meeting reports]

- Default is to include internal and overall correlation’s if internal libration is included.  To bypass these correlation’s, make ICORL negative (control line, 3)

- Free-format input is used throughout except that, for atomic position and displacement parameters and their esd’s, it is optional. In this way, parameter sets from other programs may be used without the need to add apostrophes. Character strings such as atom names must be placed in quotes in free format e.g.  'C11'.

# 9.2.3 Restrictions on this version

- No more than 7 "attached rigid groups" (ARG's; called 'non-rigid groups' in earlier versions) if the point group for the molecule is centrosymmetric, or 6 if it is acentric.  No atom may be affected by the motion of more than three attached rigid groups.

- This version uses the quadratic approximation of Schomaker and Trueblood (1968), Acta Cryst. B24, 63-76, for the rigid-body motion and the approximation of Dunitz and White (1973), Acta Cryst. A29, 93-94, for the libration of attached rigid groups on the molecule, including correlation’s of the internal and overall motion (Schomaker & Trueblood, 1984, 1989). For discussion of force constants, frequencies and barriers see also Trueblood and Dunitz (1983) Acta Cryst. B39, 120-133.  Other useful references (reviews) are: Dunitz, Schomaker and Trueblood (1988) J. Phys. Chem. 92, 856-867 and Dunitz, Maverick and Trueblood (1988) Angew. Chem. (Int. Engl. Edn.) 27, 880-895

# 9.2.4 Full details of input instructions

Atom names are included in input with atom parameters and are later used to identify esd lines and for various instructions. These later names must be identical, including spaces (e.g., left adjustment), to those used initially.  If not, there may be an error message, or just an unexplained failure, e.g., a divide-by-zero stop, because the program could not find the atom you thought you were designating.

### LINE (1) title line

Up to 80 characters. If cols 1-4 of title line are “FREE”, free-format input assumed for atomic parameters and esd’s, as well as for all other input. (These four characters will not be printed as part of title.)

### LINE (2)  six cell dimensions, IFMX, IFMB, ETA, DIS

Now always in free format with list-directed input. You need only separate items by spaces, by commas, or by spaces and commas.  Use “/” to terminate list if all  items are not included, e.g., if some are default zeros.

Options for cell dimensions:

- real cell with either angles or cosines of angles. Sequence  a, b, c, alpha, beta, gamma or a, b, c, cos(alpha), cos(beta), cos(gamma)

- reciprocal cell with either angles or cosines of angles. Sequence analogous to that for real cell.

IFMX, IFMB are input format controls for atomic parameters. They are irrelevant if free-format input used.

IFMX

IFMX =  0  	format for x,y,z is  a4,23x,3f9.6,2f5.1 for name, 				x,y,z, atomic weight, multiplicity

= 1  	SHELX input for x,y,z and anisotropic U's:

line 1:  (a4,f5.0,6f10.5,1x,i1) for name, at wt, 				x,y,z,mult,u11,u22,NUORB. As indicated below, SHELX 				parameter lines can usually be used unmodified, 				unless an atom isin a special position; see 5a,5b).

line 2:  (5x, 4f10.5) for U33, U23, U13, U12  (note 				order!)

when IFMX = 1, IFMB is ignored)

> 1 	format for x,y,z is 3f8.5,14x,a4,4x,2f5.1 for 					x,y,z, name,atomic weight, multiplicity

< 0    format for x,y,z, is  a4,5x,5f9.6

for name, atomic weight, multiplicity, x,y,z (see 				also lines (5) below)

IFMB

Value is irrelevant for SHELX input, IFMX = 1, or when free-format input used for atomic parameters. When IFMX ¹ 1 and IFMB = 0, format for 'thermal' parameters is  6f9.6,i1. If IFMB ¹ 0  format for 'thermal' parameters is  6f10.6,i1 (see also lines (5) below)

ETA

Hirshfeld-Shmueli (Acta Cryst A28, 648) correlation coefficient between mutually perpendicular mean-square amplitudes. This value should be that appropriate for the data input (see printed table, discussed below).

Recommended:  Use the default value if you have any doubt. This will give what are presumably the most meaningful values for the esd's of the U(i,j) in the absence of specific information about correlation’s. Alternatively, one can use unit weights, but when the esd's vary widely, this seems questionable.

ETA is needed (and is used by the program) for transformation of esd's of U's from one co-ordinate system to another, in the absence of specific information on the covariances of the U's.  The  approximation used is that the covariances are isotropic, and that the only important terms are among the U(i,i) and the U(i,j) of a given atom.  The actual value of ETA used seems to be important only for non-orthogonal axes. When NS (control line) is non-negative, a table is printed to indicate how appropriate the Hirshfeld-Shmueli assumptions and/or the value of ETA that was input are.  Inspection of this table (see the legend accompanying it) may make it reasonable to try another input value.  Whatever the value input, once a reasonably constant overall variance (s) is found, it is used with the standard ETA (-0.25) and  the interaxial angles to estimate covariances. Hirshfeld and Shmueli recommend an ETA of -0.25, and this is the default if ETA is input as blank or zero.  To get ETA = 0.0, use ETA = 99.0 for input. Experience has indicated that if the esd's of the  U(i,j) (off-diagonal elements) are significantly smaller than one-half those of the U(i,i), an ETA value of about 0.75 is implied.  This is (1 - 0.25), and we have found quite small values of the esd's of the U(i,j) when an overall isotropic B has been included as a parameter in the refinement.  This has the effect of introducing a strong positive correlation among the U(i,i). The Hirshfeld-Shmueli recommendation of -1/4 presumed no such correlation. If the variance-covariance matrix, or the related matrix of correlation coefficients for the l.s. refinement of the structure with U(i,j) (or B or beta) has been printed out, it should be inspected to check on the typical correlation coefficients between the different U(i,i) of a given atom.  They are of the form

ETA + (1 - ETA)*cos2(ANGLE)

where  ANGLE  is the angle between the corresponding reciprocal axes. Usually the second term is very small, so this correlation coefficient is about ETA.

DIS

All distances in Å smaller than DIS from any input atom to any other input atom or any atom generated by symmetry will be listed when NS (control line) is not -2 or -4.  Default of DIS (i.e., when DIS is input as zero) is 2.0 Å. DIS also is the upper limit for distances to be corrected for the effects of internal or overall motion. These distances are measured from the second axis-defining atom to each of the atoms affected by the internal motion.

A separate list of atoms with no neighbours or only one neighbour within this distance  DIS  is also printed, as well as a list of the connections  (by this DIS criterion) between different asymmetric units. This option permits checking that a single molecule has been input (not several disconnected fragments).

### LINE (3)  control line NTOT, NO, ISET, IB, NONRIG, NVIB, NS, ISIG, ISYM, ICORL, IWU, IFU, ICSVIB

Now free format (list-directed). This was formerly formatted 13i5; column numbers are given here because they are convenient for keeping track of what is where. However, as long as items are separated by a space or comma, they may be in any columns.  The sequence matters!  (since free format, be sure end with  “/”  if not all items entered)

NTOT (cols 1-5) number of atoms to be input  (max = 150)

If the molecule (ion) whose motion is to be analysed has two-fold or higher site-symmetry in the crystal, only those atoms comprising the asymmetric unit need be input. Those equivalent by symmetry will be generated by the program. If the total number of atoms, including any generated by symmetry exceeds 150, the job will be terminated with an error message. The limit for the number of atoms is given by

ntot +(na+na1)*(nmult-1) £ 150

na = number of atoms to be included in analysis of the motion + those with weight 800.0 (na is calculated by the program from the input data. You need not supply it.)

na1 = additional atoms included in setting up the system of inertia (wt negative as discussed under (5) below). (na1 is also calculated by the program)

nmult = no. of sym operations of the pointt group (nmult is also calculated by the program; it includes the identity operation)

NO  (cols 6-10) control variable for site symmetry.

A number corresponding to the site symmetry of the molecule in the crystal.  It is the number of the corresponding space group in Vol I of the International Tables for X-ray Crystallography)

Caution:  The site symmetry of the molecule - the molecule's point group in the crystal - is what is wanted here.  The space group of the crystal containing the molecule may be quite irrelevant. If the molecule comprises the asymmetric unit of the crystal (or only part of it because there are several molecules in the asymmetric unit), then the point-group number to use is necessarily 1, since the molecule has no necessary symmetry.

The only permitted values of NO are as follows; they are grouped below, for convenience, in different symmetry classes:

| site symmetry | number | site symmetry | number |
| --- | --- | --- | --- |
| 1 (C1) | 1 | 2/m (C2h) | 10 |
| 1bar (Ci) | 2 | 222 (D2) | 16 |
| P2 (C2) | 3 | mm2 (C2v) | 25 |
| m (Cs) | 6 | mmm (D2h) | 47 |
| 4 (C4) | 75 | 4mm (C4v) | 99 |
| 4bar (S4) | 81 | (4bar)2m (D2d) | 111 |
| 4/m (C4h) | 83 | 4/mmm (D4h) | 123 |
| 4222 (D4) | 89 |  |  |

The next group of site symmetries is to be used only for crystals indexed on hexagonal axes.  If you have a molecule or ion with 3-fold symmetry indexed with rhombohedral axes,  you must first transform the positions (and U's or B's) to hexagonal axes.

| site symmetry | number | site symmetry | number |
| --- | --- | --- | --- |
| 3 (C3) | 143 | 6 (C6) | 168 |
| 3bar (C3i) | 147 | 6bar (C3h) | 174 |
| 312 (D3) | 149 | 6/m (C6h) | 175 |
| 321 (D3) | 150 | 6222 (D6) | 177 |
| 3m1 (C3v) | 156 | 6mm (C6v) | 183 |
| 31m (C3v) | 157 | (6bar)m2 (D3h) | 187 |
| (3bar)1m (D3d) | 162 | (6bar)2m (D3h) | 189 |
| (3bar)m1 (D3d) | 164 | 6/mmm (D6h) | 191 |

| The final group of site symmetries listed here is to be used only for cubic crystals: site symmetry | number | site symmetry | number |
| --- | --- | --- | --- |
| 3 (C3) | 146 | 3m (C3v) | 160 |
| 3bar (C3i) | 148 | (3bar)m (D3d) | 166 |
| 32 (D3) | 155 |  |  |
| 23 (T) | 195 | (4bar)3m (Td) | 215 |
| m3 (Th) | 200 | m3m (Oh) | 221 |
| 432 (O) | 207 |  |  |

NOTE: as indicated, the R space-group numbers (146, 148, 155, 160, 166) are to be used only for molecules with the indicated point-group symmetry that are found in cubic crystals. If a molecule with such point-group symmetry is found in a trigonal crystal, use corresponding hexagonal axes and the point-group number appropriate to those axes.  Symmetry is taken into account chiefly in the subroutine  SYMET  (which calls SYMPOS).

ISET (cols 11-15)  setting of principal axis in crystal coord. system

if ISET = 1 principal axis   z

if ISET = 2 principal axis   x

if ISET = 3 principal axis   y

if ISET = 4 principal axis   xy-diagonal  (this means [110], not [-1,1,0], etc)

if ISET = 5 principal axis   xyz-diagonal (this means [111], not [-1,1,1], etc)

if ISET  > 5, special setting needed (e.g., for a molecule that has mmm symmetry with the axes oriented at 45 degrees to x and y). See (4c) below for input of matrices.

The 'principal axis' is the unique axis (if any) of the point group. For molecules with symmetry elements of order higher than 2 it is assumed that the principal axis will be along the z-direction (ISET = 1) except for groups with 3-fold symmetry elements in cubic crystals for which the R-space group number (146,148, 155,160, or 166) corresponding to the appropriate point-group symmetry should be used. Use ISET = 5 for such groups and only for such groups. Thus, when (e.g.) you have a 2-fold axis parallel to the b-axis (i.e., y), make ISET = 3, or the symmetry operations appropriate to the point-symmetry chosen will not be correct.

use ISET = 1 for C1 and Ci (NO = 1 and 2).

use ISET = 3  for monoclinic crystals with b as the unique axis

IB (cols 16-20) indicator of 'thermal' (displacement) parameter

IB  is the same index used by ORTEP to denote the kind of 'thermal' parameter.  Only indices 0, 1, 4, and 8 are used here.  Any other value will cause the  program to exit.

IB = 0   dimensionless B(i,j), explicit 2 with cross terms

IB = 1   dimensionless B(i,j), no factor 2 with cross terms

Thus anisotropic temperature factor for IB = 1 is:

exp -(b11*h**2+b22*k**2+b33*l*2+b12*h*k+b13*h*l+b23*k*l)

For IB = 4 and 8, 'thermal' parameters are assumed to be U(i,j) (Å2), with an explicit factor of 2 included with the cross terms.  The form is:

exp -d*(ra(i)*ra(j)*u(i,j)*h(i)*h(j))

with ra meaning reciprocal axis length and h meaning reflection index.  Summation over i,j is assumed.

IB = 8     d = 2.0*p2

IB = 4     d = 0.25

NONRIG (cols 21-25)   control variable for rigid groups

If NORNIG ¹ 0, input follows for attached rigid groups (i.e., input concerning internally moving groups). NONRIG defines number of attached rigid groups to be considered moving (max = 7 in THMA11). These were formerly called 'non-rigid groups'. Six parameters to be determined per group.

NVIB (cols 26-30) control variable for msda calculations

If negative, mean square displacement amplitudes along interatomic lines are to be calculated for all unique pairs of atoms, omitting isotropic atoms (defined as any atom with U22 or B22 = 0.0). "Unique pairs" means from all atoms in asymmetric unit to all others in asymmetric unit and all generated by symmetry. These values will be printed in a list whenever NVIB £ -2 and NS ³ 0; this list can get very long when there are many atoms input, or many generated by symmetry. When NVIB is negative, arrange atoms at time of input so that those within groups expected to be internally rigid are consecutive.  Output includes (regardless of the value of NS) a matrix of differences of msda values; if atoms are so grouped, rigidity of groups and lack of rigidity between groups is easier to spot (matrix will not include atoms with wt 800. or 999.9, or negative. Such atoms are, however, included in the long msda listing obtained when NVIB < -1 and NS ³ 0, unless U22 (or B22) for the atom was input as 0.0)

If positive  mean square displacement amplitudes are to be calculated only for selected pairs of atoms, along lines defined by these pairs. The atom pairs are read on line (8a).  NVIB is defined as a positive integer, equal to the number of pairs of atoms for which mean square amplitudes along the corresponding interatomic lines are wanted.  NVIB cannot exceed 40 (there is no limit on the number of pairs if NVIB is negative - see above).

NS (cols 31-35)   control variable for output.

If NS is greater than 0, another set of data follows starting with title line.

NS negative gives shorter output, specifically:

NS = -1, somewhat shorter, no compound follows

NS = -2, much shorter output, no compound follows

NS = -3, somewhat shorter, another compound follows

NS = -4, much shorter, another compound follows

Use "much shorter" in second and later runs of the same data, when trying variations; in initial runs, use either full output or "shorter". "Much shorter" skips output of such things as principal-axis setting, input esd's, transformation matrices, Cartesian co-ordinates, information about the inertia tensor, intramolecular distances, correlation coefficients, comparison of observed and calculated UI's, and a few other items.  Some of  these are also skipped when NS = 1- or -3.  The long detailed listing of msda differences can be obtained only when NS ³ 0 and NVIB  £ -2 . When NS is negative, only 5 lines are skipped between "pages", rather than going to an actual new sheet.

ISIG (cols 36-40) control variable for sigma’s on U’s

If ISIG = 0, no sigma U's (or B's) to be provided. If sigma B's (or B's) are to be given, they need not be given for more than the number of atoms whose U's are to be used in the analysis of the motion. The absolute value of ISIG should be the number of atoms whose us are to be used. More esds may be input (and ISIG increased accordingly), but the program will ignore them. Thus they need not be given for atoms with negative weights or dummy atoms with weight 800.0 or 999.9. ISIG may be positive or negative.

If  ISIG  is positive,  input is sigma of B's or U's and the working weights will be:

if(IWU ¹ 1), wu(i,k)= [average sigU(i,k)]/sigU(i,k))  (average not including sigmas of 0.0 or atoms with weight 800.; sigmas of atoms with weight 999.9 or < 0 always ignored)

if(IWU = 1), then wu(i,k) = 1.0 and the sigma U's are used only to calculate the mean standard deviation of the u observed values

If ISIG is negative, the input is treated as working weights wu(i,k) for the observational equations. Weights must be those appropriate for U's in the Cartesian system (in which calculations are done), not the input crystal system. No transformation done. If you wish to put in ‘working weights' appropriate for the crystal system, and have them transformed to working system, use sigU's proportional to inverse of the weights (with ISIG positive).

ISYM  (cols 41-45) control variable for symmetry setting

If ISYM = 0 or blank, origin of crystal system lies on the molecular symmetry elements, i.e., the molecular symmetry elements pass through (0,0,0) of the co-ordinate system used.

If ISYM  ¹ 0, then the crystal origin does not lie on the molecular symmetry elements. When ISYM ¹ 0 an additional line is read with the co-ordinates of a point on the symmetry elements. See (7) below.

ICORL (cols 46-50) control variable for calculation of correlations

If ICORL is less than 0, bypass calculation of correlations of internal torsions with overall motion. Bypass is automatic for groups with only one atom (NAFA(i) = 1) since there are too few U(i,j) to determine 6 parameters.

IWU  (cols 51-55) control variable for weights

If IWU  ³ 0,  ignored unless ISIG ³ 0 (see ISIG above)

IFU  (cols 56-60) control variable for output

If  IFU ¹ 0, detailed information wanted for each atom ('interpretation'). Output gives atom-by-atom comparison of obs and calc U's in inertial system, their eigenvalues and eigenvectors, the angles between the latter, and the angles between the eigenvectors of Uobs and those of L and T.

ICSVIB (cols 61-65) control variable for msda calculations

ICSVIB is non-zero if mean square displacement amplitudes are to be calculated for individual specified atoms along directions that are defined by input direction cosines. ICSVIB must be a positive integer (no larger than 10) and is the number of directions for which the calculations are to be made. The direction cosines and atom names are read in on lines (8b). The maximum number of atoms for any direction is 12.  A given direction may be used more than once.

### LINE (4)  three option lines  (free format).

Be sure to end line with  “/”  if all variables not entered. The options in line 4a will probably be more generally used, those in 4b are for less common situations, 4c is rarely required.

### LINE (4a) TEMP, IRECAL, ISIGX, IRIDE, IMIN, IUNC

TEMP

If entered as 0.0 (or if just “/” is entered), the default temperature of 296 K is assumed.  Otherwise TEMP is entered as the temperature in Kelvin (with a decimal point, e.g., 115. or 239.)

IRECAL

If IRECAL ¹ 0 signifies that a second calculation is wanted with the same atomic parameters. To start it, use new title line, omit cell dimensions, include control and option lines, omit atomic parameters and esd's, include other lines if specified on control line or option line.

ISIGX

If ISIGX ¹ 0, implies that lines including esd's of x,y,z are intermixed with sigmas of U's or B's (see under lines (5c) below).

IRIDE

If IRIDE ¹ 0, means up to 20 pairs of atoms to be input at line (6d) below for riding-correction calculation. All bonds to (aniso) H and D atoms will automatically have riding correction calculated, so use IRIDE ¹ 0 only if such corrections are to be applied to other atoms.

IMIN

If  IMIN ¹ 0, means up to 20 pairs of atoms to be input at line (6e) below to define distances for the 'minimum' thermal motion correction (see Busing & Levy, Acta Cryst 17, 142 (1964))

IUNC

If IUNC ¹ 0, means up to 20 pairs of atoms to be input at line (6f) below for correction for uncorrelated (independent) motion (see Busing & Levy, Acta Cryst. 17, 142 (1964)). The first atom of each pair of atoms is assumed to be one of the atoms input; the 2nd may be related to an input atom by a centre of symmetry at the origin and by translation.

### LINE (4b) IFREQ, IATWT, IEIG, IMAT, IOUT, CONSLV

IFREQ

If IFREQ = 0, no frequency, force constant or barrier estimations will be made. If  > 0, estimated frequencies, force constants and barriers for internal motion only, i.e., for motion of attached rigid groups. If IFREQ < 0  estimated frequencies for overall motion also. A minor source of errors in frequencies will arise if H atoms are not included in the attached groups, because the moments of inertia will be low (by as much as 20 or 25 percent for groups such as methyl or t-butyl).  Normally, however, this will not affect calculation of force constants.

IATWT

If  IATWT = 0, atomic wts to be assigned by program. If ¹ 0, no atomic weights to be assigned by program. When IATWT = 0,  atomic weights generated from the chemical symbol (first non-blank characters in cols 1-4 of atom name) for elements 1-53 and also D, W, Re, Os, Ir, Pt (excluding, however  He, Ne, Ar, Kr, Tc), unless atom already has negative wt or wt 800.0 or 999.9.  Either upper or lower case letters (or mixture) OK for atom names.  To preassign wt to a particular atom (other than its atomic wt, or special value), change its symbol to something non-standard. Isotropic atoms are  assigned negative weights by the program (unless wt = 800., 999.9 or a negative wt is input).

Note that if an atom has been identified as Ca (or CA), implying carbon a or carbon alpha, the program will identify it as calcium.  For any atoms not in the "standard list" given above, use the desired wt as input value (program will retain the input value for any atom it does not recognise).  As mentioned above, program will override any assigned weight for  a 'common atom' unless IATWT ¹ 0 or  weight input as 800., 999.9 or negative.

IEIG

If IEIG > 0  write out matrix of normal equations for later analysis by an eigenvalue/eigenvector program.  At present I do not have available a VAX subroutine of this kind sufficiently precise to give reliable values when the matrix is nearly singular.  Inspection of the eigenvectors under this situation can be helpful in understanding the interdependence of different variables. The msda differences for bonded atoms is also written to this file.

IMAT

This variable is used only for special checking of the matrix of normal equations. When the matrix or its inverse is printed, the accompanying vector is the last element listed in each row. Whenever the matrix of normal equations is printed, the corresponding solution vector is also printed (one element per line) immediately after.

IMAT = 100 or more provides special options for checking matrix of normal equations and effects of contracting it.

IMAT  ³ 250 do not contract matrix or delete any rows or columns

IMAT  ³ 200 print matrix, after contraction and deletion.

IMAT  = 175 or IMAT = 225, print inverse matrix

IMAT ³ 100 print matrix first with contributions of unique atoms only, then 	with all.  Print solution vector (one element per line) and esd's (similarly)

IOUT

If IOUT ¹ 0, output co-ordinates corrected for rigid-body (but not internal) motion. These corrected co-ordinates will have format (a4,23x,3f9.6), which is the format appropriate for the Oak-Ridge programs.  This is format 24 in subroutine OUTR, called by entry outr9.

CONSLV

This may be ignored except on machines with relatively small word size (e.g., some VAX), and even then may be ignored most of the time.  It is set to .01 by the program unless some non-zero value is input.  Needed only when an overflow error occurs in subroutine MATINV, which may (rarely) happen with high-symmetry space groups (or possibly very large structures) on the VAX. Try conslv = 0.005 or 0.001 if overflow occurs.  It is used to reduce size of terms in the matrix at start of subroutine SOLVE

### LINE (4c) title, TMAT, RTMAT

If on the control line ISET is larger than 5, insert 1 line with title of special setting format (20a4) and input 9 components of the transformation matrix, (by rows, i.e., with columns varying fastest; see example below), and 9 components of the inverse transformation matrix.  There may be up to 9 values per line, or (for easier visualising) 3 per line. All values are free format.

Note that throughout this program all matrices premultiply vectors, even when the latter are contravariant.

TMAT is the transformation matrix, as a prefactor, to be applied to the standard setting (z-axis as unique axis) to transform it to the particular setting in the crystal of interest. See also the comments under ISET (line (3) above).

RTMAT  matrix for backtransformation

example   original setting z-axis, desired principal axis = x

(TMAT(I,J),J=1,3)	input:  0., 0., 1., 1., 0., 0., 0., 1., 0.

(or the same numbers spread over 3 lines), which is 				equivalent to:

tmat(1,j)    0.   0.   1.

tmat(2,j)    1.   0.   0.

tmat(3,j)    0.   1.   0.

(RTMAT(I,J),J=1,3)

rtmat(1,j)    0.   1.   0.

rtmat(2,j)    0.   0.   1.

rtmat(3,j)    1.   0.   0.

This case is implemented in the program,  ISET = 2. This TMAT, as a prefactor multiplying x,y,z will produce

new x = old z

new y = old x

new z = old y

The program (in subroutine SYMPOS) gets the symmetry operations appropriate to the specified setting of the principal axis from those that are stored (in SYMET) by applying  tmat as a prefactor and rtmat as a postfactor in a triple matrix multiplication.  The stored symmetry operations are  those appropriate for the z-axis as the principal axis; they are internally modified as needed when ISET is not 1.

### LINE (5)  atomic parameter lines

### LINE (5a)  position parameters.

These may be formatted or free format:

Formatted input:  [formats given above, under line (2)]  as either

atomname, x, y, z, weight, mult    (IFMX = 0)

SHELX format:                     		(IFMX = 1)

atomname,wt,x,y,z,mult,u11,u22

x, y, z, atomname, weight, mult    	(IFMX > 1)

atomname, weight, mult, x, y, z    	(IFMX < 0)

Free-format input (if columns 1-4 of title line were "free"). Order is then:

atomname, x, y, z, wt, mult

mult  will be set to 1.0 if input as 0.0 (see below).  Hence it need be given only when atom is in a special position).

wt  need be given only when program is not assigning atomic wts i.e. IATWT ¹ 0 on 2nd option line, or if atom is in special position, so mult is to be input. Value for wt irrelevant if atomic weights to be set by program, regardless of values of  mult. Be sure to terminate line with   “/“  if mult, or both mult and wt, not given.)

x, y, z  are fractional co-ordinates along a, b, c

atomname is a four-character name, which must begin with the chemical symbol for the element if atomic wts are to be assigned by the program. The identical name must be used for the same atom for input of sigU and non-rigid group information (see below).

CAUTION: be sure the x, y, z values used correspond (after symmetry operations, if any) to a single molecule, not parts of several separate molecules. If you are uncertain, use NS ³ -1 the first time, and check the printed list of input distances and pairs of bonded asymmetric units. Submit fractional co-ordinates for one complete asymmetric unit.

Input lines of position co-ordinates and atomic displacement ('thermal') parameters are read pairwise for each atom, 1st line co-ordinates, 2nd line U's or B's (except for SHELX input, IFMX=1, when U11,U22 are on first line).  The sequence of the atoms is irrelevant (except for easy interpretation of the msda matrix - see comments on NVIB on the control line)

NOTE:  Atomic weights will be generated automatically from the element symbol implied by first two letters in atom's name for most common atoms, unless on input the atom was given atomic weight 800.0, 999.9 or a negative weight. See detailed discussion under IATWT, 2nd option line.

Atom name may be upper case, lower case, or mixed. There are various special weights that may be used for special purposes. See the discussion and table below.

With SHELX input, if mult is input as 10.0 or greater, it will be diminished by 10.0; similarly, if x,y,z, or any U value has been fixed by having had 10.0 added to it, it will be automatically corrected by this program. With SHELX input, 'AFIX' lines are automatically skipped, so they need not be removed from the file.

Standard format (when IFMX = 0)  is a4,23x,3f9.6,2f5.1 . Other formats possible when IFMX  ¹ 0.  see above.

NOTE:  when using list-directed (free format) input, all atom-names on atom lines and other lines later must be enclosed within apostrophes for example, 'C12'  'H19a'  'Na+'  Be sure space(s), comma, or both between each item of input. If items from end of list are to be omitted, stop with “/”.

weights:

These are relative weights of the atoms, to be used EITHER for calculation of the inertia tensor, OR signals to the program to treat the atom in a special way.  They are NOT weightings for the least squares calculation, which are either inverse variances of the displacement parameters, or special weights that the user may input.

The following table summarises the way in which atoms with different input weights are treated.  Positions and U's or B's must be input for all atoms, but the U or B values are irrelevant for those atoms not included in analysis of the motion, except insofar as you may be interested in their comparison with the U's calculated by the program.  These will be listed, for all input atoms, in the crystal system when NS is not negative, and in the Cartesian crystal system (if different) when NS is not -2 or -4 when IFU is positive (control line), detailed atom-by-atom comparisons are made in the inertial system.  See discussion of IFU above.

| weight | U’s used in analysis of motion | Reproduced by symmetry operations | Included in inertial system | Esd’s of U’s of atom(#) “interpreted” when IFU ¹ 0 | U’s (B’s) need to be input(##) |
| --- | --- | --- | --- | --- | --- |
| 0.0 (*) | yes | yes | no | yes | yes |
| negative | no | yes | yes(**) | yes(***) | no |
| 800. | no | yes | no | no | no |
| 999.9 | no | no | no | yes | no |
| other | yes | yes | yes | yes | yes |

(*)  	if program is assigning atomic wts (IATWT = 0), you must give an 	unrecognisable name to the atom to keep the input weight = 0.0  (e.g., CX, 	NX, OX, ...)

(**)  	negative weight is made positive by subroutine INERT

(***)  	isotropic atoms are given negative wt by program, but they will not be 	"interpreted" by subroutine ATINT

(#)  	U's corresponding to the derived motion will be calculated for these atoms in 	the inertial system and compared with those input when yes appears in this 	column, except for isotropic atoms

(##)  	when ISIG is non-zero, that is, when any esd’s input

Dummy atoms

Dummy atoms should be given weight 800.0. Such atoms are useful for defining libration axes that do not lie along any interatomic line in the molecule.  Although wt 999.9 can be used for dummy atoms when the symmetry is only  1 (NO = 1), atoms with weight 999.9 are not reproduced by symmetry operations. Note that atoms of wt 800.0 will be reproduced by the symmetry operations.  U's or B's must be given for 800.0 atoms, but the specific values are not used (they may all be zero). Esd's are optional, even if included for others. Alternatively, dummy atoms may be given wt 0.0, so that they do not contribute to the inertial tensor and given esds of U's (or B's) higher by a factor of 1000 or more than those of other atoms.  These two steps have the same effect as weight 800.0:  the atoms contribute nothing to the inertial tensor and negligibly to the matrix of normal equations, but they are reproduced by the symmetry operations because they have wt ³ 0.0. If this option is used, however, these atoms will add to the 'number of independent observations' through their NUORB values, so esd's will be estimated too low. If there are no atoms with either positive or zero weight the job will be terminated

Atoms in special positions:

Note that atoms in special positions will be given their normal atomic weights, for the weight of each atom is adjusted for multiplicity in the calculation of the inertia tensor. There is no adjustment for multiplicity in calculating the contributions to the normal equations, that is, the U's of atoms in special positions are given the same relative weight for least squares. as atoms in general positions, taking into account whatever variation there may be in the sigmas of individual components of the U's if sigu is used for weighting.

A user who wants to exclude a particular component from the analysis can do this with the option  ISIG < 0 (on control line, (3)), inserting  sigU(i,j) = 0. for this component,   for all the others, sigU = 1.

mult

The multiplicity of the position for the atom. All atoms in general positions have mult = 1.0.  mult is used only for calculation of the inertia tensor,  and has no effect on the kinematic calculations

If mult is input as 0.0 or blank, it is changed to 1.0, so that effective input value of mult is always greater than or  equal to 1.0. For atoms in special positions, calculate mult as follows: examine the listing of the positions in Vol I of the International Tables for the space group appropriate for the point group.  If NG = the number of general positions (always listed first in the Tables) and NS = the number of special positions, then   mult = ng/ns

Note that the program immediately converts mult into its reciprocal (still calling it mult(i)). This is why mult (despite its name) is not regarded by the program as an integer and why it is to be input as f5.1 (see format), e.g. as 1.0, 4.0, etc.

Example   D2h  number 47, Pmmm,  NG = 8) all atoms in general positions have mult = 1.0  (since for these positions NS = NG). An atom in a position of site-symmetry  m  has NS = 4, and thus has mult = 8/4 = 2.0. An atom in a position of site-symmetry  mmm  has  NS = 1 and thus has mult = 8/1 = 8.0

Example  in a cubic crystal: a group with sym D3d [(3bar)m], use NO = 166, as specified for NO (on control line) since space group 166 is R(3bar)m, NG = 12. An atom in a position of site-symmetry 3m has NS = 2, so mult = 12/2 = 6.0

### LINE(5b) atomic displacement ('thermal', vibration) parameters

Standard format is (6f9.6,i1) but if IFMB ¹ 0, format is 6f10.6,i1 (again, format changes may be made in subroutine RDIN) or free-format input (see earlier comments)

Beta's or U's as indicated with IB (line(3)). The Beta's are not used in the program.  they are immediately converted to U's.(subroutine CONVER)

Sequence   B11, B22, B33, B12, B13, B23, NUORB(i)

or   U11, U22, U33, U12, U13, U23, NUORB(i)

or  (SHELX)  U33,U23,U13,U12   (U11,U22,NUORB with x,y,z)

NUORB(i) is number of independent U's or U's of the atom I. If blank,  6 is assumed

NOTE:  Be sure to end B-line (U-line) with a “/“  if using free format input and not giving NUORB. It is usually unnecessary to give NUORB, which needs to be explicitly input only for atoms in special positions.

Program calculates the number of independent observations:

ninobs = sum(NUORB(i))

(NUORB is used only in calculation of esd's, so if they have not been adjusted for symmetry the only effect is that the calculated esd's are too low)

If sigma U's are provided, they follow after the complete set of input data for co-ordinates and 'thermal' parameters

### LINE (5c) input of sigmas of U (or B), atname format (6f10.5,a4)

Sequence:  sigU11,sigU22,sigU33,sigU12,sigU13,sigU23,atname

Free-format input will be used here if it is used for the position and displacement parameters

NOTES:

- Abs(ISIG) input lines of esd's of U's (B's) MUST be given

- Atom names must be identical to those used above. Sequence of atoms irrelevant, sorted by program.

- If ISIGX (1st option line) is non-zero, sigmas of x,y,z intermixed with sigmas of U or B, sigmas of x,y,z being first line of each pair. The sigmas of x,y,z are not used by the program

- Format for sigmas of U (or B) is not variable, but it could be altered in subroutine RDIN (rdin5)

- The sigmas of the 'thermal' parameters will be taken to be sigmas of B's if IB = 0 or 1 and will be converted to sigmas of U's.  They are not listed until after they have been converted to sigma(U)

- If sigU's are to be used to calculate least square wts (ISIG > 0), any sigma = 0.0 is set = average sigma

- If no sigU's input, wu is set to 1.0 for  all atoms and all U’s

- When ISIG positive and IWU ¹ 1, sigU's for equivalent atoms are generated, and sigU's are transformed to Cartesian (working) system.

### LINES (6a, 6b, 6c) Input concerning attached rigid groups, assumed to be undergoing torsional or other motion ('non-rigid' input)

All atomic names must be identical with the names used in the input for the co-ordinates, including spacing and blanks. If not an error message is printed and calculation stops.

Limitations:

- No atom may be in more than 3 attached rigid groups (ARG)

- A maximum of 7 attached rigid groups is allowed, each containing at the most  40  "affected atoms", i.e., atoms whose positions are affected by motion of the group about its prescribed axis (an atom lying on the axis  is not affected by the motion. Thus do not consider the axis-defining atoms as "affected atoms").

- If these dimensions are exceeded , the job will be terminated.

For each ARG, input lines 6a, 6b (and 6c if needed).  Then follow with similar lines for the next ARG. All input free format. For each ARG:

### line (6a) NAFA, LBAT1, LBAT2, NONSY, AXMOM

(NONSY, AXMOM usually not needed; use “/”  if omit them)

NAFA

Number of affected atoms  (no more than 40). Note especially that this number does not include the two atoms that define the libration axis and it includes only the unique affected atoms, not those generated by any symmetry operations that affect the attached rigid group. If NAFA is input as a negative number (it is made positive), it means that three more atom names are to be read (see line (6c) below), and that direction of axis of attached rigid group is to be defined as the vector product of the vector from LBAT1 to LBAT2 with the vector from LBAT3 to LBAT4, the axis passing through the atom whose name is given by LBAT5, i.e., (LBAT1®LBAT2) x(LBAT3®LBAT4), through LBAT5

LBAT1,LBAT2

LBAT1  -  name of atom 1 defining the libration axis

LBAT2  -  name of atom 2 defining the libration axis

LBAT2  should be the axis-defining atom that is closest to the other atoms in 	the group, since corrected distances to it (but not to LBAT1) that are less 	than or equal to DIS (input line 2) are calculated and printed.

Parameter  NRBCON was once (pre-1985) in cols 31-35; it is no longer used.  If using free format input with a pre-existing  input set, be sure to remove it.

NONSY

You can ignore this parameter if doing no frequency calculations, (IFREQ = 0, 2nd option line) or if symmetry is only P1 or P1bar.

NONSY = 0   if this  ARG  lies on any symmetry element,  = non-zero if  ARG lies on no symmetry element, when symmetry is higher than P1bar. This is used only in subroutine NRCOR.  The program usually calculates the moment of inertia for an ARG in making frequency and force constant calculations. However, when symmetry is higher than P1bar, moment of inertia calculated by the program for a group lying on a symmetry element will be wrong, so calculation is skipped in these circumstances unless a non-zero value of AXMOM has been input for the group.

AXMOM

Only used when NONSY is zero. The moment of inertia of the attached group, in units of atomic weights and Å2, about the symmetry axis. Typical values are 2.9 for -NH3+, 3.2 for CH3, 40.0 for a carboxylate group, 76.0 for t-butyl (not including H's),  88.0 for trifluoro-methyl, 89.0 for phenyl (including H's)

### line (6b) names of the affected atoms

Up to 40 names, always free format. Submit a total of NAFA names, each enclosed in apostrophes

### line (6c) LBAT3, LBAT5, LBAT5

When NAFA input as negative number for a given ARG, three atom names are read here,  free format:   LBAT3,   LBAT4,   LBAT5

for example,       'C8'   'O4'    'N2'   (see discussion under NAFA  above)

Additional lines  6a, 6b, 6c  for 2nd and further ARG’s, if any.

### LINES (6d, 6e, 6f)  input concerning riding, minimal thermal motion and correlation corrections

### line (6d)  Riding correction

When IRIDE  (1st option line) is non-zero, read here up to 20 pairs of atom names, free format, for application of riding correction. No need for this for bonds that involve (anisotropic) H or D; riding corrections for these will be calculated automatically.

- First atom of each pair is the atom assumed to be riding

- Second atom of each pair is the atom that is being ridden

Enclose each atom name in apostrophes, and terminate with “/”

example:   'C15'  'Cu1'  'C16'  'Ru1'  'O19'  'Ru2' /

Note that either space(s) or a comma must be between each item in the list.

### line (6e) ‘minimum’ thermal correction

When  IMIN  (option line) ¹ 0, read here up to 20 pairs of atom names, free format, for application of the 'minimum' thermal motion correction to the distance between the atoms. The atom names must be enclosed in apostrophes and the list terminated with “/”  (as in the example given under (6b) above).

### line (6f) independent motion correction

When  IUNC  (option line)  ¹ 0, read here up to 20 pairs of atom names, with an equivalent position for 2nd atom, for correction of a distance for uncorrelated (independent) motion. The equivalent position may only be one related by translational symmetry or by combination of a centre of symmetry at the origin and translation. The distance may be larger than the limiting distance specified by DIS   on the cell-dimension line. All input free format.  Be sure atom names are enclosed in apostrophes and input ends with a   “/”   as in the example below. For each pair, the following is needed:

atomname 1    atomname 2   NUNC   (TUNC(i),i=1,3)

If 2nd atom is related to input position by a centre of symmetry at the origin, NUNC is negative; if not, NUNC is zero or positive.  TUNC(i) are translational components, which may be fractional for centred lattices and thus are input with decimal point, as in this example:

'C15'  'C17'  0  0. -1.  2.      'C18'  'C2'  -1  0.5 2. 1.5

Here for first pair, O17 is related to input O17 by x, y - 1., z + 2.  and for the second pair, N2 is  related to the input N2 by  0.5 - x, 2. - y, 1.5 - z

### LINE (7) input concerning symmetry

When ISYM ¹ 0,  read in one line here   (free format)

SYML(i), i = 1,3  (terminate with  “/”  if fewer than 3 values entered)

SYML(i) are the co-ordinates of a point lying on all the molecular symmetry elements. If there is a unique point, they are the (crystal) co-ordinates of that point, which is the invariant point of the molecular point group. If no unique point, then the arbitrary co-ordinates may be given any value, most conveniently 0. For example, for point group Cs (m) with the m perpendicular to the b-axis, at say y = 0.25, the values of SYML(i) would be 0.0, 0.25, 0.0 (although any other values could be used for x and z). For point group C2v with the principal axis along the a-axis of the crystal at y = 0.25 and z = 0.50, with x arbitrary, SYML(i) would be 0.0, 0.25, 0.50.

### LINE (8a), (8b) input concerning msda calculations

### LINE (8a)

If NVIB £ 0  (line 3), no input is needed here. When NVIB  < 0, calculation is done for every unique pair of atoms.  When NVIB > 0, such calculations done only for specified pairs of atoms. Each pair of atoms defines a direction for which mean square displacement amplitudes will be calculated for the atoms from the Uobs and, for atoms in the asymmetric unit input, the Ucalc as well. The values from the Uobs give a measure of the quality of the data if the atoms define a 'bond' that would be expected to be 'rigid'.  The values from the Ucalc for any pair of atoms within a rigid body or within any librating group should be identical.  They are output for checking and for comparison with the 'observed' amplitudes. Msda calculated between an atom in the framework and one in a librating attached group (or between atoms in different groups of this kind) reflect the internal motion.

When NVIB  > 0 (line (3)), read NVIB pairs of atom names in free format, each name being accompanied by the number of its equivalent position (= 1 if atom is in the asymmetric unit input).

example atname1,  eqposn1,   atname2,  eqposn2

The equivalent positions are listed in order early in the output.  If unsure about this order, try one run with NVIB = 0 to check the order.

CAUTION:  Atom names must be enclosed in apostrophes, and must be identical to those used on atom parameter lines, including blanks.

### LINE (8b)

If ICSVIB  ¹ 0 (on line (3)), read 2 x ICSVIB lines here. ICSVIB may be no larger than 10. The lines come in pairs.

- First line of each pair contains direction cosines (relative to the Cartesian crystal axes) and the number of atoms whose names are to be read on the following line (no more than 12) and for which the displacement amplitudes in the specified direction are to be calculated. Free format (four values: 3 direction cosines, and no. of atoms to be read).

- Second line of each pair contains the names of up to 12 atoms for which amplitudes are to be calculated in the specified direction. Calculations may be made only for atoms in the asymmetric unit input. Free format (be sure to enclose atom names in apostrophes).

# 9.2.5 Differences between THMA14c and THMA11

The major difference between the two versions is that  THMA14c calculates the correlations between internal motion as outlined in the paper

Schomaker & Trueblood, (1998) Acta Cryst.B54, 507-514

Unless these calculations are required, it is probably better to use THMA11. In terms of the input files the only differences are in the following two lines;

4a. 	first option line:  TEMP, ISCM, MSD8, IRECAL, ISIGX, IRIDE, IMIN, 	IUNC (up to 8 quantities)

4b. 	second option line:  IFREQ, IBYP, IATWT, IEXU, IEIG, IMAT, IOUT, 	CONSLV (up to 8 quantities)

The meaning of the new  italicised items are :

ISCM

If entered as zero, no screening or filtering of the  MSDA difference matrix is done. If ISCM is not set to zero, MSDA differences not greater than  2.5x(ISCM) will be changed to blanks.  If the mean esd of the MSDA difference is input as ISCM, only values of the difference significant at about the one percent level will be printed in the SCREENED matrix, which is printed third, after the unscreened  and bonded MSDA-difference matrices.

MSD8

If entered as non-zero number, table(s) of MSD for all pairs of atoms output in a file MSD.LST

IBYP

If set to zero,  the usual path through program is followed, including calculations in INERTIAL system, and MOVING ORIGIN to centre of mass. If  non-zero, then bypass inertial system but shift origin to unweighted centroid. If set equal to 2 leave origin as input.

IEXU

If non zero ( meanining "experienced users") less explanatory  material is given in the listing output

The remaining items of input have the same meaning as in THMA11.

# 9.2.6 Sample default input file for THMA11

Mn2(CO)10 at 100K multipole refinement

14.1260    6.8790   14.2890   90.0000  105.1400   90.0000    0    0 -0.25  2.00

11    1    1    8    0    0    0   11    0    0    0    0    0

100.00    0    0    0    0    0    0    0

0    0    0    0    0    0    0  0.000000

MN1                          0.34562  0.23683  0.06903 54.9  1.0

0.010820 0.012420 0.012580 0.002650 0.001280-0.000510

O1                           0.53329  0.25348  0.22287 12.0  1.0

0.023000 0.053100 0.034400 0.013300-0.016100-0.004400

O2                           0.42246  0.40687 -0.08990 12.0  1.0

0.022600 0.027000 0.024700 0.007200 0.010800-0.002800

O3                           0.23749  0.04664  0.19929 12.0  1.0

0.040400 0.022500 0.021300 0.001000 0.017700-0.006900

O4                           0.39562 -0.14903 -0.00304 12.0  1.0

0.027000 0.017100 0.036400 0.000400 0.013400 0.005500

O5                           0.28886  0.63570  0.12105 12.0  1.0

0.028600 0.014100 0.018300-0.001500 0.003700-0.000600

C1                           0.46112  0.24540  0.16228 12.0  1.0

0.016300 0.027200 0.023400 0.008100-0.004500-0.001400

C2                           0.39290  0.34511 -0.02890 12.0  1.0

0.014300 0.017200 0.019200 0.003900 0.005300-0.001100

C3                           0.27776  0.11902  0.14901 12.0  1.0

0.022900 0.015100 0.015600 0.001200 0.007100-0.002500

C4                           0.37332 -0.00472  0.02460 12.0  1.0

0.016700 0.014800 0.023400 0.003300 0.007500 0.002500

C5                           0.30940  0.48313  0.10158 12.0  1.0

0.017800 0.013600 0.013400 0.000700 0.001100-0.002000

0.00006   0.00006   0.00007   0.00004   0.00003   0.00004MN1

0.00060   0.00120   0.00080   0.00090   0.00060   0.00080O1

0.00040   0.00040   0.00040   0.00030   0.00030   0.00030O2

0.00050   0.00030   0.00040   0.00030   0.00040   0.00040O3

0.00040   0.00030   0.00050   0.00030   0.00040   0.00030O4

0.00040   0.00030   0.00030   0.00020   0.00030   0.00030O5

0.00020   0.00030   0.00030   0.00020   0.00020   0.00020C1

0.00020   0.00020   0.00030   0.00020   0.00020   0.00020C2

0.00030   0.00020   0.00020   0.00020   0.00020   0.00020C3

0.00020   0.00020   0.00030   0.00020   0.00020   0.00020C4

0.00020   0.00020   0.00020   0.00020   0.00020   0.00020C5