PIRUM Version 930101

is a combined dialogue version of the programs PIRUM and PURUM

PIRUM = A Fortran program for least-squares refinement of

crystal-structure cell dimensions.

REF: Werner,P.-E.,Arkiv Kemi 31 (1969) 513-516

PURUM = A Fortran progrma for least-squares refinement of

crystal-structure cell dimensions using fixed (hkl)s'.

The program may be used in three different ways.....IP=0,1 or 2

IP=0 (default)

Ordinary least-squares refinement of unit cell parameters

using single-indexed lines as observational equations.

Relexion indices (- extinction conditions may be given -)

generated by the program. Lines accepted as single-indexed

if ABS(2Theta.obs minus 2Theta.calc) < DT  (default DT=0.03 deg.)

Refl. data read by one of the commands QREAD or PREAD (Use HELP)

Obs. Run CONVERT (after QREAD) unless input of sine square theta

values. (Default input data are sine square thetas from SCANPI)

IP=1

As IP=0, but also producing a formatted output file with

(hkl), observed sine square theta and intensity

Format(3I5,F10.6,F10.2)

Indices may be changed and reflexions may be deleted and/or

added in this file by using an editor program.

IP=2

Least-squares refinement using fixed (hkl). The program will

read the kind of file described at IP=1 above.

The file is read (-if IP=2) by the PREAD command.

The observational equations are defined by the (hkl)s' given

on the input file.

Intensities will be normalized by the program.

No CYCLES as the (hkl)s' are fixed.

Input of CELL parameters irrelevant.

Extinction conditions will affect figures of merits.

The parameter DT (see above) will only be used for calculation

of warning messages at lines that should be checked.

The output LIST may be used directly for PUBLICATION (-after

marginal changes with an editor program).

Input of diffraction data to PIRUM in free format.

Obs. IP=0 (See above)

Intensities may be given but are not needed.

Reflexion positions may be given as:

Sine square theta

1/d**2 (d in A)

Theta (deg.)

2Theta (deg.)

or d-values (A)

Conversion to sine square theta data may be made by

a CONVERSION command as this kind of data is used in

the least-squares refinement.

The max. accepted deviation between observed and calculated

positions is given in degrees of 2theta (Default: DT=0.03 deg.)

(The parameters D1, D2 and SSQTL are not used in this PIRUM

version.) Use DI (display) and try to find the optimum DT,

i.e. Max. number off single indexed lines, but all indexed.

Unit weights (as in earlier program versions) or Hess weights

(-recommended-) may be used. (Default: WT=0 i.e. Hess weights.)

Hess weights;

Weights vary uniformly with 2-Theta.

Ref: Hess, Acta Cryst 4 (1951) 209-215

The STDs' derived by this kind of weights are usually

marginally larger, but hopefully more correct. They are

derived from the assumption that all Bragg angles (not

sine square theta values) are measured by equal precision.

STRATEGY

In the first run the line positions are normally read by the QREAD

command. (Obs. IP=0  default)

Thereafter the commands SYSTEM, CELL (and ev. CONDITION and

CONDITION.INPUT) are used in the order listed here.

Look also at the CH command.

Do not leave the program before you have used the CREATE command.

This makes it possible to use the PREAD command next time and re-

run the problem.

Before a final run, use the DI command in order to check the output

on the screen.

When an acceptable run (with IP=0) is finished, a new run should be

made with IP=1, in order to create a file for an IP=2 run (See above)

HELP commands are available on all levels (for example within

CONDITION as well as CONDITION.INPUT)

OBS. Indexing problems solved by TREOR or TREOR90 should always be

refined by PIRUM.

The TREOR program is used to FIND a plausible cell, not to

produce the ultimate refinement. Close-laying lines and last

lines in the file etc. may cause problems for TREOR. By PIRUM

you may find the optimum parameters and check the indexing of

individual 'problem lines'.

If you have any questions.....Ask the program authors..

Per-Erik Werner and Lars Eriksson

Arrhenius Lab.

S-106 91 Stockholm

SWEDEN                 tel: 46-8-16 23 93

FAX: 46-8-15 21 87

**********************************************************************END