How to modify the *.pos file to add a new space group

Edit the *.pos ASCII file corresponding to the crystalline system (c.pos for cubic, o.pos for orthorhombic, etc..., except for tetragonal : q.pos). The list of available Space Groups description appears. Each Space Group record contains the following lines :

1-The Space Group symbol, upper characters and without blank.

2-An integer : 1 if center, o if no center

3-An integer : The number of equivalent positions (general position)

4+-The equivalent positions (one per line, upper characters and without blank)

5-An integer : The number of existence conditions (general position)

6+-The existence conditions coded in accordance with the ENRAF_NONIUS syntax (CAD4), (upper characters, without blank, one per line)

7-A blank line

Example :For the monoclinic system, the m.pos file contains the P21/c group record :

P21/C

1

2

X,Y,Z

-X,Y+1/2,-Z+1/2

2

K=0 LN2

H=0 L=0 KN2

In order to add the P21/a group, insert the following lines :

P21/A			Symbol

1			Center

2			2 equivalent positions

X,Y,Z			Position one

-X+1/2,Y+1/2,-Z	Position two

2			2 conditions :

K=0 HN2		conddiion one : if k=0, then h=2n

H=0 L=0 KN2		condition two : if h=0 and l=0, then k=2n

Blank