## a and b calib _ no U
r52921 | Th2 | calc |  | ch# | kev | calc | diff | r52921 | Area | Th2 | Lortz. | FWHM
| 1.488 | 1.4845 | GeKa1,2 | 148.8 | 9.8767 | 9.8962 | 0.019492 | 001_fluoresc.dat PV | 1665.2259 | 1.488 | 0.5873 | 0.0659
| 1.9012 | 1.8988 | GeKb1,3 | 190.12 | 10.9813 | 10.9976 | 0.016299 | PV | 272.7371 | 1.9012 | 0.6483 | 0.0649
| 4.3225 | 4.3224 | MoKa1,2 | 432.25 | 17.444 | 17.4521 | 0.0080883 | PV | 2779.4664 | 4.3225 | 0.2693 | 0.0964
| 5.2606 | 5.2659 | MoKb2 | 526.06 | 19.96 | 19.9528 | -0.0072186 | PV | 101.9178 | 5.2606 | 0 | 0.0768
| 7.1711 | 7.1724 | SnKa2 | 717.11 | 25.044 | 25.0456 | 0.0016013 | PV | 1013.3578 | 7.1711 | 0.0152 | 0.09
| 7.2575 | 7.2579 | SnKa1 | 725.75 | 25.272 | 25.2759 | 0.0039178 | PV | 2689.3193 | 7.2575 | 0.4067 | 0.0952
| 8.4603 | 8.4586 | SnKb1,3 | 846.03 | 28.4737 | 28.4822 | 0.0085517 | PV | 1215.3066 | 8.4603 | 0.7364 | 0.1017
| 8.6822 | 8.7017 | SnKb2 | 868.22 | 29.122 | 29.0737 | -0.048259 | PV | 424.9339 | 8.6822 | 0.9969 | 0.1146
| 9.7105 | 9.7124 | BaKa2 | 971.05 | 31.817 | 31.8149 | -0.0021201 | PV | 898.0459 | 9.7105 | 0.2849 | 0.0958
| 9.8529 | 9.8537 | BaKa1 | 985.29 | 32.194 | 32.1945 | 0.00047553 | PV | 2038.6425 | 9.8529 | 0.4799 | 0.103
| 11.4154 | 11.4134 | BaKb1,3 | 1141.54 | 36.353 | 36.3596 | 0.0066318 | PV | 974.1331 | 11.4154 | 0.8183 | 0.118
| 11.744 | 11.7573 | BaKb2 | 1174.4 | 37.27 | 37.2356 | -0.034419 | PV | 850.381 | 11.744 | 1 | 0.1998
| 19.5262 | 19.5245 | WKa2 | 1952.62 | 57.982 | 57.9806 | -0.0014087 | PV | 185.8602 | 19.5262 | 0.0827 | 0.1354
| 20.0276 | 20.0233 | WKa1 | 2002.76 | 59.312 | 59.3172 | 0.0051733 | PV | 344.0999 | 20.0276 | 0.1719 | 0.1377
| 22.9757 | 22.9612 | WKb1,3 | 2297.57 | 67.1463 | 67.1759 | 0.029593 | PV | 218.4251 | 22.9757 | 1 | 0.23
| 23.6888 | 23.6938 | WKb2 | 2368.88 | 69.1 | 69.0768 | -0.023166 | PV | 204.4827 | 23.6888 | 0.9995 | 0.3858
| 25.0942 | 25.0829 | PbKa2 | 2509.42 | 72.804 | 72.8232 | 0.019209 | PV | 38.4094 | 25.0942 | 0.0007 | 0.1609
| 25.8965 | 25.8948 | PbKa1 | 2589.65 | 74.969 | 74.9619 | -0.0070999 | PV | 65.6002 | 25.8965 | 0.0557 | 0.1508
| 29.5992 | 29.5717 | PbKb1,3 | 2959.92 | 84.774 | 84.8322 | 0.058187 | PV | 31.9877 | 29.5992 | 0.9967 | 0.2402
| 30.5299 | 30.5441 | PbKb2 | 3052.99 | 87.367 | 87.3132 | -0.053846 | PV | 12.8598 | 30.5299 | 1 | 0.2124
|  |  | UKa2 |  | 94.659
|  |  | UKa1 |  | 98.44
|  |  | UKb3 |  | 110.424
|  |  | UKb1 |  | 111.303
INSTRUCTIONS:
a/ paste the text report from XFIT into J1 space above this
b/ use data 'text to columns' command to unbundle
c/ copy the Th2 column [M1-M18] to B1-B18
d/ Excel does rest but you must update figure caption
and file # for your printout,if any
e/ update the difference plot by taking a and b parameters
from fig caption and putting them in column g and control down

## refcel_silicon_2-theta
Template files
Using refcel for UNIX/DOS software to refine the angle of the detector
1999-05-27 | r52917 | 16293.8292 | 33.6511 | 0.1236 | 0.3117
| PV | 3034.2422 | 54.9416 | 0.164 | 0.4128
| PV | 916.1808 | 64.4408 | 0.2136 | 0.4506
| PV | 53.2668 | 77.71 | 0.4603 | 0.564
| PV | 47.7019 | 84.6785 | 0.003 | 0.6087
| PV | 28.0475 | 95.1894 | 0.2614 | 0.576
u cal
silicon
6 | 1 |  |  |  |  | silicon
5.4309 | 5.4309 | 5.4309 | 90 | 90 | 90 | 6 | 1
7.6307 | [5 empty] | 5.4309 | 5.4309 | 5.4309 | 90 | 90 | 90
1 | 0 |  |  |  |  | 7.6307
1 | 1 | 1 | 33.6511 |  |  | 0 | 0
2 | 2 | 0 | 54.9416 |  |  | 1 | 1 | 1 | 33.6264
3 | 1 | 1 | 64.4408 |  |  | 2 | 2 | 0 | 54.8607
4 | 0 | 0 | 77.71 |  |  | 3 | 1 | 1 | 64.4037
3 | 3 | 1 | 84.6785 |  |  | 4 | 0 | 0 | 77.635
4 | 2 | 2 | 95.1894 |  |  | 3 | 3 | 1 | 84.5675
[6 empty] | 4 | 2 | 2 | 95.2053
[6 empty] | 5 | 1 | 1 | 89.1125
[6 empty] | 4 | 4 | 0 | 97.0225
[6 empty] | 5 | 3 | 1 | 101.482
[6 empty] | 6 | 2 | 0 | 108.3927
Refinement cycle number 5
H K L Obs Calc Diff
1 1 1 33.6511 33.6507 0.0004
2 2 0 54.9416 54.9513 -0.0097
3 1 1 64.4408 64.4361 0.0047
4 0 0 77.7100 77.7129 -0.0029
3 3 1 84.6785 84.6856 -0.0071
4 2 2 95.1894 95.1784 0.0110
R(calc) : 0.0098 R(exp) : 0.0128 Ratio : 0.77
New parameters after cycle 5
Cell constants are :
a b c alpha beta gamma
5.43094 5.43094 5.43094 90.000 90.000 90.000
0.00000 0.00000 0.00000 0.000 0.000 0.000
Detector angle (2-theta - degrees) is : 6.73628

## excel_solver_to_give_2theta
This worksheet can be used to fit silicon for all or just 2theta.
Minimize solver on j12 varying m16-19.
If you just want 2theta, put fluorescence derived "a" and "b" into m16-17 and only vary m19.
m18 is in case you want to do quadratic Ecal
File | Peak | Area | ch. no. / 100 | Lortz. | FWHM | ch. no. | E(obs) | E(calc) | dif^2
00001.dat | PV | 689.9265 | 8.6697 | 0.1268 | 0.0991 | 866.97 | 29.7163 | 29.7033 | 0.00016965 |  |  |  |  | 866.97 | 751636.9809
| PV | 262.0111 | 15.5625 | 0.1224 | 0.1344 | 1556.25 | 48.4813 | 48.5052 | 0.00057346 |  |  |  |  | 1556.25 | 2421914.0625
| PV | 75.5992 | 18.6448 | 0.1602 | 0.1467 | 1864.48 | 56.8762 | 56.8774 | 1.4249e-06 |  |  |  |  | 1864.48 | 3476285.6704
| PV | 5.3078 | 22.9451 | 0.0048 | 0.1866 | 2294.51 | 68.5923 | 68.5968 | 1.9674e-05 |  |  |  |  | 2294.51 | 5264776.1401
| PV | 13.0936 | 25.2061 | 0.3021 | 0.1567 | 2520.61 | 74.7541 | 74.7516 | 6.5884e-06 |  |  |  |  | 2520.61 | 6353474.7721
| PV | 6.9976 | 28.602 | 0.0569 | 0.1835 | 2860.2 | 84.0112 | 84.0135 | 5.4973e-06 |  |  |  |  | 2860.2 | 8180744.04
| PV | 2.1853 | 30.4724 | 0.0845 | 0.1627 | 3047.24 | 89.111 | 89.1098 | 1.3547e-06 |  |  |  |  | 3047.24 | 9285671.6176
| PV | 0.9667 | 33.3764 | 0.6238 | 0.1786 | 3337.64 | 97.0306 | 97.0105 | 0.00040522 |  | a0 | 6.13 |  | 3337.64 | 11139840.7696
| PV | 1.0944 | 35.0136 | 0.2495 | 0.2011 | 3501.36 | 101.4964 | 101.456 | 0.0016316 |  | a1 | 0.027195 |  | 3501.36 | 12259521.8496
| PV | 0.2635 | 37.5495 | 0.6061 | 0.0903 | 3754.95 | 108.4148 | 108.461 | 0.0021363 |  | a2 | 1.1965e-08 |  | 3754.95 | 14099649.5025
no dl conversion | [8 empty] | 0.0049508 |  | th | 3.817
[11 empty] | 2th | 7.634
silicon | 1998-07-22 | Refcel input file | [8 empty] | ao | 5.4309 |  | 1.2696e-08 | 0.027191 | 6.1343 | #N/A
6 | 1 | [12 empty] | 1.1229e-08 | 5.3863e-05 | 0.059445 | #N/A
5.4309 | 5.4309 | 5.4309 | 90 | 90 | 90 | [8 empty] | 1 | 0.026584 | #N/A | #N/A
7.6307 | [13 empty] | 4032974.4212 | 7 | #N/A | #N/A
0 | 0
1 | 1 | 1 | 29.711
2 | 2 | 0 | 48.4897
3 | 1 | 1 | 56.8869
4 | 0 | 0 | 68.6026
3 | 3 | 1 | 74.7624
4 | 2 | 2 | 84.0154
5 | 1 | 1 | 89.1125
4 | 4 | 0 | 97.0225
5 | 3 | 1 | 101.482
6 | 2 | 0 | 108.3927
silicon | 1998-07-22 | refcel input file
6 | 1
5.4309 | 5.4309 | 5.4309 | 90 | 90 | 90
7.6307
1 | 0
1 | 1 | 1 | 29.711
2 | 2 | 0 | 48.4897
3 | 1 | 1 | 56.8869
4 | 0 | 0 | 68.6026
3 | 3 | 1 | 74.7624
4 | 2 | 2 | 84.0154
5 | 1 | 1 | 89.1125
4 | 4 | 0 | 97.0225
5 | 3 | 1 | 101.482
6 | 2 | 0 | 108.3927
using refcel to refine for 2theta - low residuals out to 110kev
means energy calibration ok out this far and silicon has no nonsense
Refinement cycle number 5
H | K | L | Obs | Calc | Diff |  |  | H | K | L | Obs | Calc | Diff
1 | 1 | 1 | 29.711 | 29.7023 | 0.0087 |  |  | 1 | 1 | 1 | 29.711 | 29.7023 | 0.0087
2 | 2 | 0 | 48.4897 | 48.5037 | -0.014 |  |  | 2 | 2 | 0 | 48.4897 | 48.5037 | -0.014
3 | 1 | 1 | 56.8869 | 56.8756 | 0.0113 |  |  | 3 | 1 | 1 | 56.8869 | 56.8756 | 0.0113
4 | 0 | 0 | 68.6026 | 68.5946 | 0.008 |  |  | 4 | 0 | 0 | 68.6026 | 68.5946 | 0.008
3 | 3 | 1 | 74.7624 | 74.7492 | 0.0132 |  |  | 3 | 3 | 1 | 74.7624 | 74.7492 | 0.0132
4 | 2 | 2 | 84.0154 | 84.0109 | 0.0045 |  |  | 4 | 2 | 2 | 84.0154 | 84.0109 | 0.0045
5 | 1 | 1 | 89.1125 | 89.107 | 0.0055 |  |  | 5 | 1 | 1 | 89.1125 | 89.107 | 0.0055
4 | 4 | 0 | 97.0225 | 97.0074 | 0.0151 |  |  | 4 | 4 | 0 | 97.0225 | 97.0074 | 0.0151
5 | 3 | 1 | 101.482 | 101.4528 | 0.0292 |  |  | 5 | 3 | 1 | 101.482 | 101.4528 | 0.0292
6 | 2 | 0 | 108.3927 | 108.4576 | -0.0649 |  |  | 6 | 2 | 0 | 108.3927 | 108.4576 | -0.0649
R(calc) : 0.0307 R(exp) : 0.0119 Ratio : 2.58
New parameters after cycle 5
Cell constants are :
a b c alpha beta gamma
5.43010 5.43010 5.43010 90.000 90.000 90.000
0.00000 0.00000 0.00000 0.000 0.000 0.000
Detector angle (2-theta - degrees) is : 7.63416